| m | Evacuation points – guests not knowing how, where to evacuate the building. | Visitor University staff Other residents | 4 | 4 | 16 | Signage in Halls Evacuation point signs Muster point signs outside All doors inside are fire doors, as there is only one main exit out of the building | 4 | 1 | 4 | Monitor check-in procedure Ensure missing signage is replace throughout the year |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| m | Slow evacuation - disabled / less mobile guests not knowing where refuge points are, what to do in case of a fire | Visitor University staff Other residents | 4 | 4 | 16 | Signage in Halls Evacuation point signs All doors inside are fire doors, as there is only one main exit out of the building | 4 | 1 | 4 | Monitor check-in procedure Ensure missing signage is replace throughout the year Review if there is enough information on refuge points in Halls |
| m | Language barrier – foreign guests not being able to read advice leaflets or H&S notices. | Visitor University staff Other residents | 4 | 4 | 16 | Internationally recognised signage is used where possible, eg no smoking signs. For groups, we ask one of the group to translate signs into their own language where possible. | 4 | 2 | 8 | Monitor the volume of bookings coming in, Additional signage in other languages may be warranted. |
| k | Smoking – guests smoking in their bedrooms, causing the alarms to be activated and fire hazard. | Visitor University staff Other residents | 4 | 4 | 16 | No smoking signs Warning letter system in place Cleaners log incidents on ACR forms, details passed to Conferences. Fines for covering up alarms | 4 | 3 | 12 | Smoking bins provided outside. Guest bedrooms monitored, via Operations staff. |
| m | Unknown guests in rooms, visitors who are not booked in, staying with other guests in Halls. | Visitor University staff Other residents | 1 | 4 | 4 | Check-in system in place to monitor arrivals and departures. Operations staff have a list of which rooms are in use. Security staff monitor comings and goings. | 1 | 3 | 3 | Monitor the situation. Likely to occur with our own students who stay on in the summer, if they invite friends back to stay. |
| b | Falling, tripping down stairs. | Visitor | 4 | 4 | 16 | Rubber stairs, with marked strip edge. Hand rail. Lots of lighting. | 4 | 2 | 8 | There are no lifts in the Halls of residence which guests are advised of. Guests can request to be on the ground floor. |
| k | Fire – kitchens, leaving appliances on, covering smoke detectors. | Visitor University staff Other residents | 4 | 4 | 16 | Signage in kitchens. Operations staff conduct regular checks with ACR forms. Smoke alarms fitted Guests can be fined for covering smoke alarms | 4 | 3 | 12 | Not all blocks have communal kitchens. |
| a, d, m | Violence – risk of guests not getting on and arguments, fights erupting in halls, causing injury to one or more people. | Visitor University staff Other residents | 3 | 3 | 12 | Using KX events system, plan which guests are allocated where to avoid conflict in types of groups. | 3 | 1 | 3 |  |
| m | Thefts / damage of personal items in bedrooms. Theft of people stealing the lead off the roof. | Visitor University staff Other residents | 3 | 4 | 12 | Front door locks Check-in procedure Safety lock on doors. Safety locks on windows CCTV security 24 hr Operations Security | 3 | 2 | 6 | Incidents logged on IRIS. Crime numbers can be provided. |
| b | Falling out of windows on the first or second floors. | Visitor University staff Other residents | 4 | 4 | 16 | Window locks installed. | 4 | 1 | 4 | Tested annually. |
| m | Operations staff at risk if in a one to one situation with guests, especially under 18 year olds | Visitor University staff Other residents | 3 | 3 | 9 | Operations staff notified what types of customers we have in to stay in advance. Customers asked to vacate by 10am. Separate risk assessment completed for Summer School bookings. | 3 | 2 | 6 | Review risk assessment for summer schools. |
| d, m | Walking to and from accommodation in the dark. Trip, slip, fall, be attacked. | Visitor | 2 | 4 | 8 | Street lighting CCTV cameras Security on patrol | 2 | 2 | 4 | . |
| m | Ill health due to guest drinking water in the kitchen or bedroom. | Visitor Other residents | 3 | 3 | 9 | Blocks unused for long periods of time, Property Services to be alerted prior to using the block for guests, for the water to be tested. | 3 | 1 | 3 | Monitor block usage and communicate with Property Services. |
| m | Diseases spreading – one guest who is ill, contaminating other guests in the same corridor, building. | Visitor University staff Other residents | 4 | 4 | 16 | Operations staff most at risk, as likely to find guest in room. Notify emergency services for hospital treatment. A confined corridor can be allocated where possible. Other guests written to immediately. | 4 | 2 | 8 | No further action. |
| d | Slipping in the shower being knocked unconscious. | Visitor | 3 | 3 | 9 | Operations staff most at risk, as likely to find guest in room. If applicable, notify emergency services for hospital treatment. | 3 | 1 | 3 | Unlikely due to size of shower cubicle to be able to slip or fall. |
| m | Damage to University property – graffiti, broken items, etc. | Visitor | 2 | 4 | 8 | All guests advised to inform reception of any items damaged on arrival to avoid being charged for repairs. | 2 | 3 | 6 | This depends on the type of booking, as to how likely this will be to happen. |
| m | Too cold – heating not working in the block | Visitor Other guests | 2 | 4 | 8 | If heating malfunctions. Offer guests to move blocks. Offer additional blankets. Offer refund, if appropriate. Notify Property Services and get a timescale to fix the heating. | 2 | 3 | 6 | Ensure conference team know what to do in this instance. |
| m | Mixing groups –under 16 year olds in accommodation | Visitor Other guests University staff | 4 | 4 | 16 | Under 16 year olds must be divided by gender and by booking. Must be supervised by their nominated legal safe guardians. No other groups / adults can be on the same floor, preferably not in the same block. | 4 | 1 | 4 | Conference department involved with check-in and bedroom allocation to control and monitor the system. |
| m | Mixing groups – under 18 year olds on campus | Visitor Other guests University staff | 4 | 4 | 16 | Under 18 year olds must be in their own blocks and not mixed with other bookings. Adult supervision is a minimum of 1:15. | 4 | 1 | 4 | Conference department involved with check-in and bedroom allocation to control and monitor the system. |

Completed by  Louise Callaghan         December 2016

Reviewed by                                        Review Date (s)  December 2017