SCHOOL/SERVICE DEPARTMENT: Conference Deprtment – CLASSROOM / LECTURE THEATRE USE FOR CONFERENCE HIRE

RISK ASSESSMENT FORM

Location – Any Campus     Environment/Activity/Equipment – Conference Use

Hazard Identification Reference

| (a) Confined Spaces | (b) Falls from Height | (c) Striking by Mobile Plant | (d) Trip or Slip | (e) Collapse | (f) Manual Handling | (g) Electrical | (h) Hazardous Substances | (i) Radiation | (j) Noise & Vibration | (k) Fire | (l) Explosion | (m) Others |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Severity (S)						Likelihood (L)						Risk Factor (R)			S x L= R

| 1 Negligible - all in a day's work | 1 Improbable | <4 Risk may need to be controlled LOW |
| --- | --- | --- |
| 2 Minor - minor injury with short term effect | 2 Remote - unlikely | 4-6 Risk must be controlled MEDIUM |
| 3 Severe - major injury/disability (reportable) | 3 Possible - may or could well occur | 7-9 Hazard must be controlled HIGH |
| 4 Extreme - fatal | 4 Probable - expected to occur, several times | >9 Hazard must be avoided VERY HIGH |

| Hazard Ref. | Hazard Description | People at risk |  |  | Initial Assessment |  |  | Control Measures |  |  | Residual Risk |  |  | Action/Comments |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | S | L | R |  |  |  | S | L | R |  |  |  |
| (m), (d) | Restricted evacuation. Wheelchair access. | University Staff, Visitors, Students and general public |  |  | 4 | 3 | 12 | Entrance/Exit points to be kept clear. Client/staff to be advised of access limitations prior to event. Room allocation to be advised according to access needs (no lift or ramps). Operations to know which rooms are booked for event each day. Ask event organiser to provide information on people with access needs. Organiser is responsible for managing attendance list. |  |  | 4 | 2 | 8 | Monitor bookings and offer alternative rooms to ensure enough access is provided for all guests. |  |  |
| m | Meeting room is too cold or too hot for event | Delegates |  |  | 3 | 3 | 9 | FACTS desk requests pre-booked and logged on KX. Services checked on the day by Conferences. |  |  | 3 | 2 | 6 | Monitor and evaluate. |  |  |
| m | The risk of the organiser adding non-standard activities to a meeting room hire booking without communicating to the conference department. | University Staff, Visitors, Students and general public |  |  | 2 | 3 | 6 | Conditions of use in contract. Planning meetings held with client. Conference planning meetings |  |  | 1 | 3 | 3 | Manage client on the day. Any concerns discuss with the campus and conference manager. Additional activities can be refused. |  |  |
| (m), (a), (d) | Room Set up:- a) Heavy lifting, moving. b) Tripping over cables on the floor for AV kit. c) Exceeding safe level of delegate numbers per room. | University Staff, Visitors, Students and general public |  |  | 2 | 4 | 8 | Ensure Furniture is set up correctly (i.e. Not blocking exit points or passages). Set up data projector correctly and ensure cables not trailing and are visible. Use rubbers cable covers. OHPs and flipchart stands to be set up away from passageways or entrance/exit points. Operations Staff to set room layout and equipment at all times (except data projector). Work to room capacities from Registry and Risk/Safety & Health. |  |  | 2 | 1 | 3 | Random audit of rooms, to ensure they are being set up in a safe manner and professionally laid out. |  |  |
| (g) | Electrical equipment – catching fire, trailing leads, mal-function, etc | University Staff, Visitors, Students and general public |  |  | 4 | 4 | 16 | PAT test equipment. No trailing wires or overloaded multi-point extension cables. External equipment - Client to provide Conference Office PAT test certificate for external equipment used, prior to event. |  |  | 4 | 1 | 4 | No further action to be taken |  |  |
| (k) | Fire – fire exits and fire doors Fire exits in some meeting rooms may be obstructed with presentation equipment and fire doors are some time kept open. | University Staff, Visitors, Students and general public |  |  | 4 | 4 | 16 | Conference Office to issue organisers with evacuation procedures file. Fire exits to be cleared and fire doors to be shut. Alarms sounded with Operations |  |  | 4 | 1 | <4 |  |  |  |
| (k), (m) | Cars parked across the front entrance of buildings and emergency aid not gaining access quickly enough– fire-fighters and ambulance access and fire evacuation | University Staff, Visitors, Students and general public |  |  | 4 | 4 | 16 | Operations staff to be aware of events taking place. Organiser to be familiar with access points. |  |  | 4 | 2 | 8 | Monitor car parking where possible. |  |  |

Completed by  Louise Callaghan         February 2017

Reviewed by                              ……..Review Date (s)  February 2018